MASTER TEST PLAN: VITALFLOW JAVA SYSTEM

IEEE 829-1998 Standard Format

1. Test Plan Identifier

ID: VF-JAVA-TP-2025-001

Level: System & Component Testing Level

Related Software: VitalFlow Java Application v1.0

This document serves as the Master Test Plan for the functional and system-level testing of the VitalFlow Insulin Pump Java implementation. It identifies the strategy for validating the concurrent logic of sensing, controlling, and pumping insulin as implemented in the com.vitalflow package. This identifier correlates directly with the repository tag VF-JAVA-v1.0 and serves as the controlling document for all subsequent testing activities including unit, integration, and manual GUI verification.

2. Introduction

The purpose of this test plan is to define the validation strategy for the safety-critical Java implementation of the VitalFlow insulin pump system. Since the system handles life-critical medication delivery, the testing focuses on ensuring that the multithreaded architecture, using BlockingQueue for inter-module communication and correctly handles glucose trends. The scope covers the Java source code, specifically the Controller, Pump, and Sensor classes, and their integration within the VitalFlowGUI.

We aim to ensure that the system behaves deterministically and safely under varying glucose levels. This document outlines the use of JUnit-style automated tests for business logic and manual exploratory testing for the graphical user interface.

3. Test Items (Functions)

The primary test items consist of the Java classes defined in the src directory:

- Controller.java: Decision logic for insulin delivery.

- Pump.java: Simulation of the mechanical insulin delivery.

- Sensor.java: Background thread for glucose level simulation.

- SystemState.java: Shared data model for UI synchronization.

- VitalFlowGUI.java: User interface components and event handling.

We are testing the thread safety of the BlockingQueue communication and the correctness of the decidePumpAction logic.

4. Software Risk Issues

The most significant software risk is “Race Conditions and Synchronization Errors.” Since the system uses multiple threads for the Sensor and Pump, improper synchronization of the SystemState shared data model could lead to inconsistent UI displays or delayed safety actions.

Another critical risk involves “Thread Deadlocks.” If the BlockingQueue are not managed correctly, the Controller might wait indefinitely for a sensor reading that never arrives, or the Pump might block while the UI is frozen.

Finally, “GUI Responsiveness” is a risk. Processing heavy logic on the Swing Event Dispatch Thread (EDT) could cause the “Stop” button or emergency alarms to lag, which is a safety violation in a medical context.

5. Features to be Tested

The primary feature under test is the Hypoglycemia Protection Mechanism. This ensures the Controller.decidePumpAction() returns false when input is below 70 mg/dL. This is a “Critical High” risk feature. We will verify this using automated tests in ControllerLogicTest.java.

The second feature is the Hyperglycemia Response (Medium risk). This ensures the pump activates (returns true) when glucose exceeds 200 mg/dL.

The third feature is the Reservoir Depletion Alarm. We will verify that the system sets AlarmTriggered to true in SystemState when insulinReservoir reaching zero, and that the UI visually signals this state.

Finally, we will test the Thread Integration. This ensures that data flows correctly from Sensor -> Controller -> Pump through the internal queues without message loss.

6. Features not to be Tested

We will not be testing the physical user interface (UI) pixel-perfect rendering or screen resolution scaling. The application is a desktop simulation. Network security and remote cloud monitoring features are also out of scope as the application is a standalone simulation.

7. Approach (Strategy)

Our strategy follows a multi-level approach:

- Unit Testing: We use SimpleTestRunner to execute edge-case tests on the Controller logic. Tests focus on boundaries (69, 70, 199, 200).

- Integration Testing: We run the full VitalFlowApp and monitor the console output and SystemState updates to ensure threads communicate via queues without stalling.

- Manual GUI Testing: A human tester will interact with the GUI, observing the visual response to simulated glucose changes and confirming that the “Insulin Delivered” status matches the logic requirements.

8. Item Pass/Fail Criteria

The test passes if:

- All automated test cases in ControllerLogicTest and SystemStateTest return “PASS”.

- The safety logic (no pumping below 70) is never violated during a 10-minute integration run.

- The GUI reflects the reservoir status and alarm state accurately without freezing.

9. Suspension Criteria and Resumption Requirements

Testing activities will be suspended immediately if the Java application fails to compile or launches with a LinkageError. Trivial thread deadlocks identified during the first 5 minutes of execution will also trigger suspension.

10. Test Deliverables

- Automated Test Results: Reports from the SimpleTestRunner.

- System Screenshots: Visual evidence of the ALARM and PUMPING states in the GUI.

- Traceability Matrix: Mapping Java requirements to specific test methods in ControllerLogicTest.java.

11. Remaining Test Tasks

Automated UI testing using a framework like AssertJ Swing is a pending task. Real-time performance analysis for the Controller thread remains to be completed.

12. Environmental Needs

- JDK 11+

- Windows/Linux OS for Swing support.

13. Staffing and Training Needs

Java tester with knowledge of multi-threaded application structures and UI-driven event loops.

14. Responsibilities

- Lead Developer: Resolution of bugs found during testing, creating and running test cases.

15. Schedule

Full testing cycle: 5 days.

- Phase 1 (Unit): Day 1.

- Phase 2 (Integration): Day 2-3.

- Phase 3 (GUI): Day 4.

- Phase 4 (Reporting): Day 5.

16. Planning Risks and Contingencies

The primary risk is the non-deterministic nature of thread interleaving. As a contingency plan is to perform “Stress Tests” by reducing the sleep timers in the Sensor and Pump threads to force more frequent interactions.

17. Approvals

Signed by the Project Stakeholders.

18. Glossary

- JUnit: Industry standard for Java unit testing.

- Swing: Java’s legacy GUI toolkit used in this project.

- Race Condition: A situation where thread timing affects the outcome erroneously.